RC012-1

APPLICATION FOR EXEMPTION FROM PERSONAL MONITORING:  DENTAL RADIOGRAPHY

A:  GENERAL INFORMATION

Licence No:  ……………………………………………
Reference No:  ……………………………………….

Name & Address of Licence Holder:  
……………………………………………………………………...


……………………………………………………………………...


……………………………………………………………………...

Tel No: ….……………………………  Fax No: …………………………….   E-mail: ………………………………

Number of X-ray Units:

	Intra-oral
	Pan/Ceph
	Other

	
	
	


Number of operators in each category:

	Dentists
	Specialists
	Dental Therapists
	Radiographers
	Oral Hygienists

	
	
	
	
	


Have the operators been monitored in the past?
YES  /  NO
If applicable, are the TLD dose records of the operators for the previous six months

attached?
YES  /  NO
B:  DECLARATION

	1. I, as responsible person/ licence holder hereby apply for exemption from personal monitoring of the 

operators as listed in section C below.

	2. I hereby confirm that the requirements as listed below, are being adhered to:

2.1  Operators position themselves at least two meters from the primary x-ray beam or behind a 

       protective barrier during the course of exposures.

      2.2  Where a single room houses more than one piece of equipment, only one unit is used at

      any one time, and the unit in question is specifically designed for either ordinary intra-oral 

             radiography or for panoramic / cephalometry radiography.

2.3 Physical support is not normally rendered to patients during an exposure.  In the event of such 

support being necessary, the person involved always wears a lead apron.

	Name:
	Signature:

	Designation:
	Date:


C:  OPERATORS

	Name
	Designation
	Signature
	Date

	
	
	
	

	
	
	
	

	
	
	
	


For office use only

	In terms of the information supplied above and the signed declaration, EXEMPTION IS GRANTED / NOT GRANTED

	Name:
	Signature:

	Designation:
	Date:

	Date of last inspection:
	Inspector code:


